Shift Fire Officer Training

TRAINING PROGRAMME

JOB TITLE:  SHIFT FIRE OFFICER

TRAINEE:

EMPLOYEE NUMBER:

PROGRAMME MANAGER:

DATE TRAINING STARTED:

START DATE            COMPLETION DATE

1. Fire water systems.         	 _______________		____________________

2. Breathing apparatus             _______________		____________________

3. Vehicles, Equipment	 _______________		____________________

And pumps

4. Fire Hose and Branches

3 Day Auxiliary Fire

Fighting Course                    ________________		____________________

5. 4 Day First Aid at Work      ________________		____________________

6. 5 Day Advanced First aid.   ________________		____________________

7. Communications and

Response procedures.	  ________________		____________________

8. Driver Training		  ________________		____________________

9. Rescue Training                   ________________		____________________

10. Leadership                        __________________            _____________________

11. Fire Safety			__________________            _____________________

12. IT Systems		__________________            _____________________

13. Leadership			__________________            _____________________

Training schedule

1.  Fire Water systems             	5 Days internal

2. Breathing Apparatus		4 Day external

2 days internal

3. Vehicles and equipment	5 days internal

4. Fire Fighting			3 days external if not in fire team

5 days team leader external course

5. First aid				4 days eternal with St John ambulance

1 day internal

6. Advanced fir staid		5 days external

7. Communications		1 day internal

8. Driver training			3 to 4 weeks driver training

9. Rescue training			2 days external

10. Fire Safety			10 days external fire safety management

12 days external Nebosh Certificate

11. Trainer instructor		3 days fire extinguisher external

2 days internal

12. IT systems			all internal 5 days

13. Leadership			All internal (A&B permit courses)

FIRE WATER SYSTEMS.

OBJECTIVE

To ensure that the trainee knows the layout of the various sections of the

Fire water mains throughout the site.

To ensure that the trainee is capable of operating the system.

Topics to include:

1. Main site systems. - Towns Water lay out - High pressure boosted systems.

Including C.T.12/14 and C.T.P.8 / M96 involvement.

Underground towns water hydrants and isolation valves.

High-pressure firewater hydrants and isolation valves.

2. Humbersite. - Static Water tanks T-5059, T-5066. 27` 9” max dip

P5, P6 Electric firewater pumps. P7 Diesel firewater pump.

Abadan. – Static water tank.

3. Fixed firewater monitors attached to the high-pressure fire main.

4. Jetty Firewater foam and water pumps and hydrants.

5. Emergency Vehicle pump operations.

6. Mobile monitors foam and water.

7. Fixed Firewater deluge systems at A4, A5, ETAC, VAM, K1, Air Products, CCGT, and Nippon Goshei.

8. Maintenance/operation of systems.

9. Wet drills.

10. Emergency Exercises.

Training Method.

L.Self learning by reading.

2. Demonstration.

3. Lecture.

4. Discussion.

Training aids.

L.Fire water layout map - Ao80009/3D.

2. Fire service Drill Book 2. [H.M.S.0.1 held in M203.

3. Fire training manuals held at M203 training room.

4. Practical operation with trainer.

Satisfactory Oral Evaluation

Assessor’s signature......................…………… Date ………………………..

## BREATHING   APPARATUS

OBJECTIVE

To ensure that the trainee will be capable of recognising, using, testing,

Inspecting and servicing the various types of Breathing Apparatus used on

Hull Works.

Topics to include:

l. Compressed air breathing apparatus [CABA.]:

Sabre Contour.

Interspinous Escape sets.

2. Mobile Trolley equipment: Sabre Module Air Unit...

3. Fixed airline installations at:

A-4.

A-5.

HRTC.

4. Breathing Apparatus recharging compressor at M203.

5. Entry Control Procedures.

6. Records of use/maintenance/testing/inspection/re-charging.

7. Respirex Gas Suit, donning procedures.

8. Decontamination procedures.

9. Fire fighter PPE in general.

10. Statutory requirements.

11. Instructor level training.

12. Factair breathing air testing equipment.

13. Face fit testing equipment.

14. Sabre test 111 equipment.

Training Method.

1. Demonstration.

2. Lecture.

3. Discussion.

4. Self learning by reading.

5. Practicals.

Training aids.

Loftier Service Rule Book [H.M.S.0.1 Book 6 -- Breathing Apparatus &

Resuscitation.

2. Hull site breathing apparatus course.

3. Manufacturers manuals -- held in M203 breathing apparatus room.

4. Training manuals held in M203 training room.

5. Instruction from Fire Officer and Fireman.

6. Manufacturers training certification. For maintenance and instruction, 4 day course.

Satisfactory Oral Evaluation

## Assessor’s signature......................…………… Date ………………………..

## VEHICLES, EQUIPMENT AND PUMPS

### MODULE 3

OBJECTIVE

To ensure that the trainee has the knowledge on emergency pumps and

Spillage equipment.

Topics to include:

I.  E One Fire Truck and its equipment.

2.  Mercedes Foam Tender and its equipment.

3. Emergency Response Vehicle ERV and equipment.

4. ERF Foam tanker & trailers

5. Portable Angus 1200 Petrol driven water pump.

6. Portable Diesel driven Foam pump. 500 lpm

7. Portable 110volt diesel generator and lighting.

8. Spillage equipment. Vetter gear, absorbents, flexible tanks etc

9. Portable diesel generator.

Training Method.

1. Demonstration.

2. Lectures.

3. Discussions.

Training aids:

1. E One Fire Truck - Location of Pump and equipment Instruction from Fire

Officer and Fireman.

2. Mercedes Foam Tender –Location of equipment, Instruction from Fire Officer

And Fireman.

3. Emergency Response Vehicle ERV –Location of equipment, Instruction from Fire

Officer and Fireman.

4. ERF	Foam Tanker and trailers- Pump/Foam Instruction from Fire Officer and

Fireman.

5. Angus 1200 pump- Pump operation/Instruction from Fire Officer and Fireman.

6. Portable Diesel driven Foam pump- Pump operation/Instruction from Fire Officer

And Fireman.

7. Driver training to C+E    DVLA    LGV standard.

Satisfactory Oral Evaluation

Assessor’s signature......................…………… Date ………………………..

## FIRE FIGHTING TECHNIQUES

OBJECTIVE

To ensure that the trainee is capable of using the various fire fighting equipment

Sited on the emergency vehicles and located around Hull Site.

To ensure that the trainee is capable of monitoring the condition of the equipment and acting accordingly to changes during emergency situations.

Topics to include.

1. Hose Running.

2. Pump Operations.

3. Hose Reels.

4. Hose handling at height.

5. Rescue Techniques. GOTCHA, STRETCHERS, etc

6. Firewater run off.

7. Foam Drills.

8 Branch Holding.

9. Moving with hose.

10. Valving down operations.

11. Flame bending.

12. Vapour dispersal.

Training Method.

1. Discussion.

2. Demonstration.

3. Practicals.

4. Self-learning by reading.

Training aids.

1. Fire service Drill Book 2. [H.M.S.0.1 held in M203.

2. Joint Oil Industry Fire Fighters accredited 3-Day Auxiliary Fire fighting course.

3. Joint Oil Industry Fire Fighters accredited 5-Day Team Leader Fire fighting course

4. Training manuals held in M203 training room.

Satisfactory Oral and Practical Evaluation

Assessor’s signature......................…………… Date ………………………..

## FIRST AID

OBJECTIVE

To ensure the trainee is conversant with First Aid and OH1 procedures when dealing with a casualty on Hull Site.

Topics to include.

1. A Four-day course at St John Ambulance or equivalent with pass out certificate

Issued by external body.

2. A ½ day course in Saltend Medical Centre with OH1 pass out certificate.

Training Method.

1. Discussion.

2. Demonstration.

3. Practicals.

4. Self learning by reading.

Training aids.

1. First aid at Work Booklet.

2. ST John Ambulance training courses.

Satisfactory Oral and Practical Evaluation

Assessor’s signature......................…………… Date ………………………..

## ADVANCED FIRST AID

OBJECTIVE

To ensure the trainee is conversant with Advanced First Aid and procedures when dealing with a casualty on Hull Site.

Topics to include.

1. A Five-day course at run by St John Ambulance or equivalent with competency pass

Certificate Issued by external body in the following areas:

Casualty Handling

Medical Gas administration

Automatic External Defibrillation

Pre Hospital Fractures

Simulated Accidents

Training Method.

1. Discussion.

2. Demonstration.

3. Practicals.

4. Self learning by reading.

Training aids.

Fist aid booklets on:

Casualty Handling

Medical Gas administration

Automatic External Defibrillation

Pre Hospital Fractures

Satisfactory Oral and Practical Evaluation

Assessor’s signature......................…………… Date ………………………..

COMMUNICATIONS SYSTEMS.

OBJECTIVE

To teach the trainee the most efficient use of communications available to him and

Have knowledge of the site response procedures.

Topics to include.

.

2. Radio System.

3. Radio procedures.

4. Fire Team Pager System.

5. Response procedures. SSO801

6. SWICS programming.

7. Site wide Toxic Gas Alarm.

Training Method.

1. Discussion.

2. Demonstration.

3. Practicals.

4. Self-learning by reading.

Training aids.

1. Radio procedures -- B.P.Hull Radio users guide.

2. Pagers -- Manufacturers literature held in M120 control room.

3. Shift Fire Officers

Satisfactory Oral Evaluation

Assessor’s signature......................…………… Date ………………………..

DRIVER TRAINING

OBJECTIVE

To ensure that the trainee will be capable of driving, using, inspecting various types of Emergency Vehicles used on Hull Works.

Topics to include:

l. The E One Fire Truck

2. The Mercedes fire truck

3. The ERV emergency response vehicle

4. The Mini Bus

5. The Various Trailers used by the Emergency services

Driving Instruction will be given for the Fire Trucks from an external training establishment which will issue a Site competency Certificate.

A provisional LGV driving licence will be required.

This will be followed by external training by DVLA registered trainers & pass out to C+E standard for LGV.

Satisfactory Oral and Practical Evaluation

Assessor’s signature......................…………… Date ………………………..

## RESCUE TRAINING

OBJECTIVE

To ensure that the trainee is capable of using the GOTCHA and other rescue stretchers and rescue equipment sited on the emergency vehicles.

To ensure that the trainee is capable of monitoring the condition of the equipment and acting accordingly to changes during emergency situations.

Topics to include.

1. Rescue from height

2. Confined space rescue.

3. Casualty handling.

4. Rescue Techniques.

5. Gas testing equipment

Training Method.

1. Discussion.

2. Demonstration.

3. Practicals training carried out by Span Set.

4. Self-learning by reading.

Training aids.

1. Fire service Drill Book held in M203.

2. Span set one day Gotcha training

3. Training manuals held in M203 training room.

4. Confined space training 2 day external course.

5. Fire Officers.

Satisfactory Oral and Practical Evaluation

Assessor’s signature......................…………… Date ………………………..

Fire Safety

OBJECTIVE

To enable the fire officer to carry out safety tours, risk assessments, audits within the workplace on fire safety legislation.

Topics to include.

- Fire safety Provision.

- Fire risk assessments.

- Fire auditing.

- Fire science and fixed systems.

- Fire management.

- NEBOSH general certificate in health and safety.

Training Method.

1. .Discussion.

2. Demonstration.

3. Theory and Practical training carried out by an external training body.

PIVITOL Training

4. Self-learning by reading.

5. NEBOSH general certificate in health and safety to be issued after training with

Approved establishment.

Training aids.

Fire service manuals

Government legislation.

Satisfactory Oral, Practical and written evaluation from training providers resulting in pass out certification.

Assessor’s signature......................…………… Date ………………………..

Trainer / Instructor

OBJECTIVE

To ensure the trainee is capable and coherent in providing and delivering training and instruction to persons or groups on all aspects of health safety and fire fighting techniques.

Topics to include

Fire extinguisher instruction

Breathing Apparatus instruction

Building warden training

Fire Team training

Record Keeping

Programming

Training Method.

Discussion.

Demonstration.

Practical exercises.

Oral Instruction

Power point presentation

Spread Sheets

Presentation Skills Course

Training aids.

Fire service manuals

Manufacturers training courses

Self learning.

Fire officers.

Assessor’s signature......................…………… Date ………………………..

ITS Systems

OBJECTIVES

To ensure the trainee is capable of using the Hull Site IT systems to enable him or her to store, record and progress records work orders and purchasing.

To ensure a comprehensive auditable storage of training records for emergency response equipment and personnel.

Topics to include

Maximo

Traction

Windows XP

Excel

Word

Power point

Pride

Thorngraph fire panels

Minerva Fire panels

Chubb Fire panels

Training Method.

Discussion.

Demonstration.

Practical exercises.

Oral Instruction

Power point presentation

Spread Sheets

Training aids.

Fire service manuals

Manufacturers training courses

Self learning.

Fire officers.

Assessor’s signature......................…………… Date ………………………..

Leadership.

OBJECTIVES

To ensure the trainee has the skills and ability to manage teams and individuals in normal everyday situations and extreme emergency situations.

Topics to include

“A “type permit to work

“B” type permit to work

“A” type pass

“B “type pass

Modification Approval Course

First level leader’s course

Fire team leader’s course

Training Method.

Discussion.

Demonstration.

Practical exercises.

In House training courses

External JOIFF approved training course

Assessor’s signature......................…………… Date ………………………..